## Slide 1: Automatic Center of Rotation adjustment in synchrotron XCT
08/10/2023
Garima Dhakal

## Slide 2: Background

## Slide 3: Center of Rotation (COR)

## Slide 4: Introduction
Problem with Manual COR Finding
Prone to Error
Time Consuming
Procedures
Normal Distribution of Random COR
Reconstructing Specific Slice for all COR
Calculation of Standard Deviation
Plotting the COR Values to SD
Analyzing the Trend

## Slide 5: Standard Deviation VS COR
C200
2_230110_1200_00001
Procedures
Normal Distribution of Random COR
Reconstructing Specific Slice for all COR
Calculation of Standard Deviation
Plotting the COR Values to SD
Analyzing the Trend

## Slide 6: Standard Deviation
Reconstruction
No Filter
Standard Deviation
Reconstruction
Mean Filter
Standard Deviation
Reconstruction
Median Filter
Standard Deviation

## Slide 7: Analyzing the Curve

## Slide 8: Point Estimation from Zoomed Plot
COR = 1300.5
COR = 1300.5
?
dSD/dCOR > 0
dSD/dCOR < 0
Manually Calculated COR: 1301.5

## Slide 9: First Derivative
dy/dx > 0
dy/dx < 0

## Slide 10: Comparison of Calculated COR
COR = 1300.5
COR = 1301.5

## Slide 11: Cropping the Tiff (200px from Center)

## Slide 12: Observing the Tile Pattern

## Slide 13: Curve Pattern Testing on Samples
C200
5_230110_1358_00001
C200
10_230110_1538_00001

## Slide 14: Curve Pattern Testing on Samples
C200
13_230110_1704_00001
Si100_Operando
6_230606_1426_00001

## Slide 15: Intensity Clipping
32bit Reconstruction
Clipping
32Bits 0 to Infinity
8Bits -100 to 100
8Bits -20 to 100
8Bits 0 to 100

## Slide 16: Reconstructed Clipped Plot
32bit Reconstruction
Clipping
32Bits 0 to Infinity
8Bits -100 to 100
8Bits -20 to 100
8Bits 0 to 100

## Slide 17: Intensity Clipping Impact
32bit Reconstruction
Clipping
32Bits 0 to Infinity
8Bits -100 to 100
8Bits -20 to 100
8Bits 0 to 100

## Slide 18: Testing on Other Samples
C200
2_230110_1200_00001
C200
13_230110_1704_00001
8Bit 0 to 100
32Bit Unclipped
32Bit 0 to Infinity

## Slide 19: Observing the Tile Pattern (32Bit 0 to Infinity)

## Slide 20: Conclusion
We observe a pattern for std image vs. COR .
To use this pattern we need to generalize for all CTs. How do we do that ?
Clipping the negative values

## Slide 21: Comparison of Calculated COR
COR = 1300.5
Without Clipping
COR = 1301.5
Manually
COR = 1301.6
With Clipping